## Slide 1
BRADFORD VTS TEACHING DECK
ECG & Cardiac Monitoring in General Practice
Clinical Protocol & AKT/SCA Exam Prep
Updated to NICE NG196 & BNF 2024 Standards
www.bradfordvts.co.uk
Created May 2026

## Slide 2
ECG BASICS AND LEAD PLACEMENT
Overview of limb leads, precordial electrode positions V1–V6, and lead reversals.
Limb Leads (Einthoven's Triangle)
Lead I: Right arm (-) to Left arm (+)
Lead II: Right arm (-) to Left leg (+) — Standard rhythm strip
Lead III: Left arm (-) to Left leg (+)
Augmented Leads: aVR, aVL, aVF (Unipolar limb leads)
Chest (Precordial) Electrodes
V1 & V2: 4th ICS, Right & Left sternal edges
V3: Midway between V2 and V4
V4: 5th ICS, Mid-clavicular line
V5 & V6: Horizontal to V4, Anterior & Mid-axillary lines
Common Lead Reversals
Right Arm / Right Leg: Minimal signal in Lead II (often flatline)
Right Arm / Left Arm: Lead I & III inverted; aVR & aVL reversed
EXAM TIP: LEAD I INVERSION
If Lead I is inverted, always check for Arm Lead Reversal first before diagnosing Dextrocardia or Axis Deviation.
Dextrocardia vs. Lead Reversal
Dextrocardia: No R-wave progression in V1–V6 (Small R-waves throughout)
Lead Reversal: R-wave progression in V1–V6 remains normal
Action: If suspected, repeat ECG with leads on correct limbs and re-verify positions

## Slide 3
CARDIAC ACTION POTENTIAL
Physiological Phases & Class III Antiarrhythmic Mechanisms
Depolarisation & Plateau
Phase 0: Rapid depolarisation via fast Na+ channels opening.
Phase 1: Initial repolarisation; Na+ channels inactivate; net K+ outward.
Phase 2: Plateau phase; Ca2+ inward vs K+ outward. Key for QT interval.
Repolarisation & Resting
Phase 3: Rapid repolarisation; Ca2+ channels close; net K+ outward.
Phase 4: Resting potential; high K+ permeability; Na+/K+ pump active.
Amiodarone (Class III)Prolongs Phase 3 by blocking K+ channels. Leads to QT prolongation. Also possesses Class I, II, and IV effects.

## Slide 4
SYSTEMATIC ECG READING USING RRATE
A structured approach to ECG interpretation focusing on Rate, Rhythm, Axis, Time intervals, and Every wave morphology.
R
RATE
300 / (number of large squares between R waves)
Normal: 60–100 bpm
R
RHYTHM
Regular or irregular? (Check rhythm strip)
Is every P wave followed by a QRS complex?
A
AXIS
Normal: -30° to +90°
LAD: I positive, aVF negative
RAD: I negative, aVF positive
T
TIME
PR: 120–200 ms (3–5 small squares)
QRS: <120 ms (<3 small squares)
QTc: <440 ms (M), <460 ms (F)
E
EVERY WAVE
P wave and QRS morphology
ST segment (elevation/depression)
T wave orientation and height
AKT Tip: Always calculate the corrected QT (QTc). Visual estimation is insufficient when assessing drug-induced prolongation (e.g., amiodarone, antipsychotics).

## Slide 5
CORONARY TERRITORY & ECG LEAD CORRELATION
Clinical Protocol & AKT/SCA Exam Prep
ANATOMICAL TERRITORY
AFFECTED ARTERY
ECG LEADS & FINDINGS
Anterior
LAD (Left Anterior Descending)
V3–V4
Anteroseptal
LAD
V1–V3
Anterolateral
Circumflex
V1–V6
Lateral
Circumflex
I, aVL, V5–V6
Inferior
RCA (Right Coronary Artery)
II, III, aVF
Posterior
RCA or Circumflex
Tall R waves + ST depression in V1–V2Note: These are reciprocal changes to the posterior wall
Right Ventricular
RCA
RV4, RV5 (Right-sided leads)
AKT EXAM PEARL
Recognizing Posterior MI is high-yield. Do not mistake ST depression in V1-V2 for ischemia alone; in the context of chest pain, it often represents a posterior STEMI.
CLINICAL PRACTICE TIP
In any Inferior MI (II, III, aVF), always perform right-sided leads (V4R). Right ventricular involvement significantly changes fluid management protocols.
Bradford VTS Teaching Deck • May 2026
www.bradfordvts.co.uk

## Slide 6
ECG IN ACUTE PRESENTATIONS: STEMI AND NSTEMI
Clinical Protocol & AKT/SCA Exam Prep
STEMI Criteria (NICE NG185)
ST elevation ≥1 mm in ≥2 contiguous limb leads
ST elevation ≥2 mm in ≥2 contiguous chest leads
New LBBB with ischemic symptoms = Treat as STEMI
Immediate GP Action
Call 999 for emergency ambulance. Administer Aspirin 300mg (crushed/chewed). Do NOT thrombolyse in the community; ensure rapid transfer for primary PCI.
NSTEMI & Unstable Angina
ST segment depression or T-wave inversion
Troponin rise distinguishes NSTEMI from UA
Risk Stratification: Utilize the GRACE score in hospital for mortality risk
AKT Pearl: GRACE Score (6-month mortality)
BRADFORD VTS TEACHING DECK — MAY 2026
NICE NG185 / BNF 2024 STANDARDS

## Slide 7
ATRIAL FIBRILLATION MANAGEMENT
Guidance on AF diagnosis, rate and rhythm control strategies, and anticoagulation protocols using CHA₂DS₂-VASc scores and DOACs.
Diagnosis & Clinical Features
Irregularly irregular rhythm: Pulse check is mandatory; confirmed by 12-lead ECG.
ECG Findings: Absence of distinct P waves; replaced by rapid fibrillatory waves.
Rate: Variable ventricular response; baseline often tachycardic if untreated.
MANAGEMENT STRATEGY (NICE NG196)
Rate Control: 1st line (e.g., Bisoprolol or Diltiazem) for most patients.
Rhythm Control: Consider if symptomatic, young, or first episode.
Anticoagulation Protocol
Assess stroke risk using CHA₂DS₂-VASc. Anticoagulate if:
≥ 2
In Men
≥ 3
In Women
DOAC Preferred: Apixaban, Edoxaban, Rivaroxaban, or Dabigatran (BNF 2024).
Apixaban: Generally preferred first-line in current local GP pathways.
BNF 2024 / NICE UPDATE
LMWH bridging is NOT required when starting a DOAC for stroke prevention in non-valvular AF.

## Slide 8
COMMON ARRHYTHMIAS IN GENERAL PRACTICE
Clinical identification, immediate management protocols, and emergency medication dosages
Rhythm
ECG Characteristics
Immediate Action & Dosage
Supraventricular Tachycardia (SVT)
• Narrow complex tachycardia • Regular rhythm • Rate typically 150–250 bpm • P waves often buried in T waves
1. Initial: Vagal manoeuvres (Valsalva or carotid sinus massage) 2. Pharmacological: Adenosine 6 mg rapid IV bolus Note: Adenosine requires large bore cannula (antecubital fossa) + rapid saline flush. Must have crash trolley/defibrillator on site.
Ventricular Tachycardia (VT)
• Broad complex tachycardia (>120ms) • Regular rhythm • Rapid rate (usually >100 bpm) • AV dissociation may be seen
ASSESS FOR PULSE IMMEDIATELY• Pulse Present: Amiodarone 300 mg IV (over 10-60 mins) • Pulseless: Call 999; Start ALS protocol immediately; Defibrillate (Shockable rhythm)
Complete Heart Block (3rd Degree)
• Complete AV dissociation • P waves and QRS unrelated • Ventricular rate typically 30–40 bpm • Wide or narrow escape rhythm
999 EMERGENCY - HIGH RISK OF ASYSTOLE1. Atropine 500 mcg IV (repeat up to 3 mg max) 2. If haemodynamically unstable: Prepare for transcutaneous pacing (if equipment available).

## Slide 9
ECG INTERPRETATION & CARDIAC MONITORING
Clinical Protocol & AKT/SCA Exam Prep
Hyperkalaemia & Long QT Syndrome
Hyperkalaemia ECG Evolution
Early Signs: Tall, tented T waves (all leads)
Progression: P-wave flattening & QRS widening
Pre-Arrest: Sine wave pattern (impending VF/Asystole)
AKT: IDENTIFY SINE WAVE
Emergency Management
Stabilize: IV Calcium Gluconate (protect myocardium)
Shift: Insulin/Dextrose & Salbutamol Nebuliser
Action: 999 Referral & Continuous Cardiac Monitoring
Long QT Syndrome (LQTS)
Criteria: QTc > 500ms (High Risk of Torsades)
Drug Causes: Amiodarone, Antipsychotics, Macrolides
Metabolic: Hypokalaemia & Hypomagnesaemia
SCA: MEDICATION REVIEW
Clinical Management
Acute Torsades: IV Magnesium Sulfate 2g
Prevention: Remove triggers & correct electrolytes
Specialist: Cardiology referral for Beta-blockers/ICD
BNF 2024: CHECK QTC INTERACTIONS

## Slide 10
CARDIOVASCULAR EXAMINATION TECHNIQUE
Systematic OSCE Approach for GP Practice & SCA Prep
General & Hands
Initial Steps: Wash hands, confirm identity, and obtain patient consent.
End of Bed: Inspect for breathlessness, pallor, cyanosis, or malar flush.
Hands: Check for clubbing, splinter haemorrhages, Osler's nodes, and Janeway lesions.
Face & Neck
Eyes/Mouth: Corneal arcus, xanthelasma, conjunctival pallor, and central cyanosis.
JVP: Assess at 45°; check for hepatojugular reflux if JVP is raised.
Carotid: Palpate carotid pulse for character (e.g., slow-rising in aortic stenosis).
Precordium
Palpation: Apex beat (5th ICS, MCL); check for right ventricular heaves and thrills.
Auscultation: Mitral (apex), Tricuspid (lower left), Pulmonary (2nd left), Aortic (2nd right).
Maneuvers: Left lateral for mitral stenosis; sit forward/expiration for aortic regurgitation.
Peripheral Signs
Lungs: Auscultate lung bases for bibasal crackles (pulmonary oedema).
Abdomen: Palpate for hepatomegaly, ascites, and pulsatile aortic aneurysm.
Ankles: Check for pitting peripheral oedema and assess distal pulses.
SCA EXAM PEARL
In the SCA, verbalize your findings as you go. For example: "I am assessing the JVP at 45 degrees to look for signs of right-sided heart failure." This demonstrates clinical reasoning to the examiner and ensures you don't miss steps under pressure.

## Slide 11
FOCUSED ECHO IN EMERGENCY
Point-of-Care Ultrasound (POCUS) Clinical Indications & Utility
Acute Emergency Indications
Cardiac arrest (rhythm vs. pseudo-PEA)
Suspicion of pericardial effusion/tamponade
Assessment of massive pulmonary embolism
Clinical Assessment
Gross LV function & wall motion assessment
Evaluation of unexplained hypotension/shock
Clinical Advantages
Non-invasive and radiation-free modality
Rapid results directly at the patient bedside
Highly repeatable for monitoring response
Key Limitations
Highly operator-dependent for accuracy
Requires formal training and accreditation
Exam Tip: POCUS is a focused assessment to answer binary clinical questions (e.g., "Is there an effusion?"), not a replacement for formal departmental echocardiography.

## Slide 12
ECG INTERPRETATION & CARDIAC MONITORING
Clinical Protocol & AKT/SCA Exam Prep
Rate Calculation
The 300 Rule: Divide 300 by the number of large squares between R waves.
Rapid Sequence: Memorise 300, 150, 100, 75, 60, 50.
Normal resting rate: 60–100 bpm.
AF Anticoagulation
NICE NG196: Use CHA₂DS₂-VASc score for risk stratification.
Threshold: Score ≥2 (men) or ≥3 (women) → DOAC (Apixaban preferred).
LMWH bridge is NOT needed when starting DOAC for AF.
STEMI Equivalents
New LBBB + Chest Pain: Treat as STEMI until proven otherwise.
Action: Call 999 immediately; Aspirin 300mg; Do not wait in GP.
Time is muscle—PCI is the gold standard.
Inferior MI Nuance
Leads II, III, aVF indicate RCA territory.
Mandatory: Perform right-sided leads (RV4, RV5) to check for RV involvement.
RV MI drastically changes fluid and nitrate management.
Hyperkalaemia
ECG Progression: Tall tented T waves → wide QRS → Sine wave.
Immediate Rx: IV Calcium Gluconate to stabilise myocardium.
This is a medical emergency requiring urgent hospital transfer.
QTc Monitoring
Risk Threshold: QTc >500 ms = high risk of Torsades de Pointes.
Review Drugs: Amiodarone, antipsychotics, clarithromycin.
Correct electrolytes (K+, Mg2+) immediately.
Bradford VTS Teaching Deck • ECG & Cardiac Monitoring
Created May 2026 • NICE NG196 / BNF 2024 Standards • www.bradfordvts.co.uk

## Slide 13
RED FLAGS AND COMMON PITFALLS
High-Risk Cardiac Presentations & Clinical Misinterpretations
EMERGENCY RED FLAGS
Complete Heart Block
HR < 40 bpm + haemodynamic compromise. Action: 999 + Atropine 500 mcg IV.
VT with Pulse
Conscious: Synchronised DC cardioversion. Unconscious: Treat as VF (ALS protocol).
Acute ST Elevation
Every minute of delay costs myocardium. Action: Aspirin 300mg + 999 immediately.
TECHNICAL PITFALLS
Lead Reversal vs. Dextrocardia
Check R wave progression (V1-V6). If absent, it’s dextrocardia; if present, it’s lead reversal.
Missing Posterior MI
Always look for reciprocal tall R waves and ST depression in V1–V2.
Neglecting Right-Sided Leads
Mandatory in Inferior MI (II, III, aVF) to exclude Right Ventricular involvement.
CLINICAL ERRORS
Raw QT vs. Corrected QTc
Never use the raw QT interval. Always calculate QTc to assess Torsades de Pointes risk.
Blind Antiarrhythmic Initiation
Avoid prescribing antiarrhythmics without a confirmed rhythm diagnosis on ECG.

## Slide 14
EXAM PEARLS FOR AKT AND SCA
High-yield topics for GP trainees, focusing on diagnostic criteria, scoring systems, and effective patient communication regarding cardiac risks.
AKT: Core Clinical Knowledge
STEMI Criteria: ≥1mm elevation in limb leads or ≥2mm in chest leads (contiguous).
AF Anticoagulation: CHA₂DS₂-VASc ≥2 (men) / ≥3 (women) triggers DOAC initiation per NICE 2021.
Lead Mapping: Inferior (II, III, aVF) = RCA; Anterior (V1-V4) = LAD; Lateral (I, aVL, V5-V6) = Circumflex.
AKT: Emergency Management
Hyperkalaemia: Sequential changes: tall tented T waves → PR prolongation → QRS widening → Sine wave.
SVT Dose: Adenosine 6mg rapid IV bolus; if ineffective, 12mg then 12mg (total 3 doses).
Complete Heart Block: Atropine 500mcg IV if compromised; pacing is definitive.
SCA: Patient Communication
Explaining Results: Use lay terms for arrhythmias (e.g., "short-circuit" or "irregular heartbeat") to reduce anxiety.
Risk/Benefit Discussion: Use absolute risk figures for AF anticoagulation (e.g., stroke reduction vs. major bleed risk).
Verbalizing Findings: In physical exam stations, clearly narrate your findings (e.g., "I am checking for peripheral cyanosis").
SCA: Shared Decision Making
Bleeding Risk: Address bleeding concerns using ORBIT/HAS-BLED scores to guide DOAC choice (e.g., Apixaban).
Safety Netting: Crucial for suspected stable angina; clear instructions on GTN use and when to call 999.
DVLA Guidance: Remember to discuss driving restrictions for SVT, VT, or pacemaker insertion.
BRADFORD VTS TEACHING DECK • MAY 2026 • NICE NG196 / BNF 2024 STANDARDS

## Slide 15
ECG INTERPRETATION & CARDIAC MONITORING
Clinical Protocol & AKT/SCA Exam Prep
Coronary Territory Mapping
Anterior (LAD): Leads V1–V4
Inferior (RCA): Leads II, III, aVF
Lateral (Circumflex): Leads I, aVL, V5–V6
STEMI Diagnostic Criteria
Limb Leads: ST Elevation ≥1mm (contiguous)
Chest Leads: ST Elevation ≥2mm (contiguous)
STEMI Equivalent: New LBBB + Chest Pain
AF & Anticoagulation (NICE)
CHA₂DS₂-VASc: ≥2 (Men) / ≥3 (Women) → DOAC
Drug Choice: Apixaban preferred (BNF 2024)
Protocol: No LMWH bridge needed for AF DOAC start
Emergency Priorities
Hyperkalaemia: IV Calcium Gluconate (1st line)
Complete Heart Block: 999 + Atropine 500mcg
Long QT (QTc >500): Stop triggers; IV Mg for Torsades
BRADFORD VTS TEACHING DECK
www.bradfordvts.co.uk • Updated May 2026