Blood Glucose Monitoring

Before checking the patients blood glucose

- Ensure that you understand how to use the monitor and lancets correctly

- check that a quality control test has been carried out and recorded that day

- check that the test strips are in date

- check that the monitor and test strips have been calibrated together

# Procedure

- Explain the procedure to the patient and obtain verbal consent

- Patients should be advised to wash their hands before blood sampling (use of alcohol handrub should be avoided)

- Wash hands and apply gloves

- Take blood sample from the side of the finger using a disposable lancet

  - The site should be rotated to reduce the risk of infection, pain and toughening of skin from multiple stabbing

  - The side of the finger is used as it is less painful

- A droplet of blood should be allowed to form which is large enough to cover the test pad in one application – it may be necessary to ‘milk’ the finger to obtain an adequate sample

- Apply the blood to the test pad in one application.  If an inadequate amount of blood is obtained discard the test strip and start again

- Dispose of the lancet in a sharps bin

- Once the result is obtained record immediately in patient notes

- Remove gloves and wash hands

- Dispose of used test strips and gloves  and any other waste in a clinical waste bin

- Ensure the patient is comfortable and observe the site of the test for bleeding